MCSD Superintendent Report January 2023

1. Callout on Bella Ridge for backup at new home
2. Callout on Bella Ridge for hung open valve
3. Callout, hung open valve found on Jefferson Lane
4. Large rain event, several calls for backups due to low vacuum. Found hung open valve at storage facility
5. Rain / freezing rain event. Assess District for any damage done. Put Pump Station on generator power due to several outages in the area
6. TAG ( The Automation Group ). Bring to Pump Station, see if there are any upgrades or replacements needing to be done in SCADA cabinet
7. Clean internal screen filters on all 4 vac pumps
8. Noticed vacuum pump #3 running odd. Found failed check valve seat. Pump offline, waiting for parts
9. Clean valves and controllers for rebuild
10. Deliver Christmas hams to all
11. Online meeting with Streamline for new District website
12. County update form on Board for upcoming elections